Joint Research Management Office

Laboratory Set up Monitoring Form

| - GENERAL INFORMATION |  |
| --- | --- |
| Study Title: |  |
| Study IRAS number: |  |
| CI: |  |
| Site: | Laboratory name and address: |
| PI: | Date of visit: |
| Name of study monitor: | Type of visit : |
| Laboratory staff meeting the monitor: | Summary of activites: |
| Laboratory Manager/Lead name: | Monitoring visit number (if applicable): |
| Laboratory type: Central Laboratory Local Laboratory | Next scheduled visit: |
| Summary of the Visit: |  |
| Please detail what work the laboratory will be performing including if this is towards a study endpoint, or for safety or Diagnostic purposes ( cross check this with the section on contracts and agreements) |  |

| LABORATORY SITE FILE | Yes | No | Comments and details |
| --- | --- | --- | --- |
| Has Laboratory Site File been set up for this study? |  |  |  |
| Is the file located in secure location? |  |  |  |
| Does the site file contain all relevant sections? |  |  | Please refer to Laboratory Site File checklist |
| REC/ MHRA/HRA | Yes | No |  |
| REC Initial approval letters |  |  |  |
| Amendments approval/acknowledgements |  |  | Date; Present. A#1. A#2. |
| MHRA Initial approval letters |  |  |  |
| Amendments approval/acknowledgements |  |  | Date; Present. A#1. A#2. |
| HRA initial approval letters |  |  |  |
| Amendments approval/acknowledgements |  |  | Date; Present. A#1. A#2. |
| Contracts and Agreements | Yes | No | Comments and details |
| Is there a contact/service level agreement in place between the sponsor and laboratory? |  |  |  |
| Has this agreement been periodically reviewed? |  |  |  |
| Is there a contract/service level agreement in place with any referral laboratory used for this study? |  |  |  |
| Laboratory organisation | Yes | No | Comments and details |
| Does the laboratory have a current organisation chart? |  |  | This is to include established roles and job descriptions. |
| Does the laboratory have a service user guide? |  |  | To include lab location, services, opening hours, out of hours provisions |
| Study conduct | Yes | No |  |
| Does the laboratory have a current clinical trial protocol for this study? |  |  |  |
| Is there an index available of current SOPs and evidence of superseded versions? |  |  | See SOP 43 Laboratories for details of what is needed |
| Is there an amendments/deviation log present |  |  |  |
| Sample labelling, receipt, storage and chain of custody: | Yes | No | Comments and details |
| Does to laboratory have a sample collection and handling policy? If yes, does this policy meet the requirements for this study? |  |  | Consider: transport, temperature, receipt personnel, date stamping, |
| Does the laboratory have sufficient written procedures to perform the test required in this study? |  |  | List relevant SOPs |
| Request for additional work | Yes | No | Comments and details |
| Does the laboratory have a policy to deal with unscheduled analysis of samples? (Should an urgent clinical event occur) |  |  |  |
| Does the laboratory have a policy for reporting unexpected results? |  |  |  |
| Method validation | Yes | No | Comments and details |
| Is there evidence that tests have been verified and validated for intended use prior to introduction? |  |  | Consider control material, acceptance/rejection criteria |
| Does the laboratory have guidelines for repeat testing where needed? |  |  |  |
| Reporting | Yes | No | Comments and details |
| Does the laboratory have a policy on how tests are reported/analysed? |  |  |  |
| Personnel | Yes | No | Comments and details |
| Is there evidence of appropriate qualifications, staff training and education? |  |  | To include completed staff training records, GCP certificate, specific role training |
| How does the laboratory assess staff competency? |  |  | Detail how staff are deemed competent to perform the tests required. |
| Equipment Maintenance, Reagents and consumables | Yes | No | Comments and details |
| Are maintenance certificates available for all equipment used in this study? |  |  |  |
| Where relevant, are calibration certificates available? |  |  | Consider thermometers, pipettes |
| Does the laboratory have an in-house maintenance schedule? |  |  | Housekeeping list or schedule |
| Are all reagents and consumables stored and labelled? |  |  | Consider received, date, opened date, expiry date, storage |
| Does the department have a Health and Safety policy? |  |  |  |
| Is appropriate waste disposal available? |  |  |  |
| Emergency procedures policies & signage clearly displayed? |  |  |  |
| Computer systems and data recording | Yes | No | Comments and details |
| Are there computer systems involved in the laboratories work on this study? |  |  | If yes specify: |
| Is there evidence of computer system/database validation prior to use in this study? |  |  |  |
| How is the recording of data monitored? |  |  |  |
| What is the laboratories backup policy? |  |  |  |
| Facilities | Yes | No | Comments and details |
| Are the facilities suitable to perform the test required in this study |  |  | Consider facility security, space, environmental factors |
| Quality Assurance and Control | Yes | No | Comments and details |
| Does the laboratory have a designated QA lead? |  |  | Please specify: |
| Is there an established Quality Assurance Policy? |  |  |  |
| Is there an ongoing internal audit schedule? |  |  | Consider – if there is evidence this is being adhered to. |
| What internal quality control checks are in place? |  |  |  |
| How does the laboratory manage document control? |  |  |  |
| Does the laboratory conform to any external quality assurance schemes, which are relevant to this study? |  |  |  |
| How are internal quality control failures reported? |  |  |  |
| What is the system for reporting and logging Non-compliances with in the lab? |  |  |  |
| Have there been and non-compliances for related to this study samples. |  |  |  |
| Blinding/Unblinding | Yes | No |  |
| Does the laboratory have a procedure or policy for working with on blinded studies? |  |  | Specify if study involves blinding or not. |
| Retention of data | Yes | No |  |
| Does the laboratory have a retention and archiving policy? |  |  |  |
| Preparation and distributing of clinical kits | Yes | No |  |
| Will the laboratory be creating and distributing Lab sampling Kits? |  |  | If yes specify purpose e.g.: -Assembly instructions -QC checks of assembled kits -Kit shipment records -Kit inventory |
| Are appropriate procedures in place to cover this work? |  |  |  |
| General Monitoring activities | Yes | No |  |
| Any resistance or delay in scheduling the monitoring visit? |  |  |  |
| Was all documentation requested made available? |  |  |  |
| Did study staff have adequate time for the monitoring visit? |  |  |  |
| Was a suitable area set aside for monitoring? |  |  |  |
| Was there enough time at site to perform required monitoring? |  |  |  |
| Was the monitoring log signed? |  |  | Please ensure it is updated |
| Previous monitoring activities filed. |  |  |  |
| Email, letter and telephone records |  |  |  |
| Site initiation meeting report and minutes |  |  |  |

| # SUMMARY OF FINDINGS AND ACTIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Finding type (please see key for details) | Summary of finding | Corrective action and person carrying out this action | Severity (Critical, Major, Other) | Proposed timeline to resolve | Date action completed (if not completed state this) |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |

Key for Findings type:

- Essential documents

  - Study

  - Approvals

- Vendors / contracts / subcontractor/ finance

- Informed consent procedures

- Inclusion and exclusion criteria

- IMP and non-IMP

- Training + Staffing

- Deviation Study procedures

- Pharmacovigilance

- Randomisation and cohort allocation / un-blinding

- Data Management (Source data + CRF)

- Study equipment

- Computer Systems

- Deviations to GCP / Regulations

| # SIGNATURES AND REVIEW |  |  |  |
| --- | --- | --- | --- |
| Completed by: |  |  |  |
| Study Monitor | Name: Email: | Date: | Signature |
| Reviewed by |  |  |  |
| Research Governance and GCP Manager | Name: Email: | Date | Signature |